Cell detection, the differences between ClearMap and Arivis.

Bram Bosch
Donders institute for Brain, Cognition and Behaviour
Supervisors: Dirk Schubert and Moritz Negwer
2019
Abstract:

Cell detection is an important part of brain analysis research and often difficult to perform because of the big amount of cells in a brain which could be of importance. Cell counts could be up to more than million individual cells in just half a brain so counting by hand is not feasible. When working with lower quality microscopes (more then 1 µm/px) or if the signal to noise ratio is very high simple detection programs will give a very high false positive ratio. The data used in this research is processed by the IDISCO protocol and read by an ultra light sheet microscope. IDISCO makes brain cells of interest auto fluorescent and makes the brain transparent. In this research the ClearMap pipeline is tested against Arivis. ClearMap is a python pipeline developed by the group who made the IDISCO protocol so should be optimized for the data. Arivis is a program developed specifically for 3 or 4 dimensional biological data and has the option to build custom pipelines with multiple image processing methods and cell detection methods. The programs will be tested against 4 datasets with manually counted cells. The optimal output would be if the programs detect exactly as many cells as are present in the hand counted data and if all the locations can be accounted for. The control on if locations are correct is by checking each found cell against the manually counted cell and checking if the location is within the average radius of a cell in the datasets. Each of the filter combinations is plotted in a graph for the dataset where the x axis is the amount of detected cells and the y axis is the amount of matches to manually found cells.
Introduction:

The quality of brain research in mice is for a large part dependent on the quality of the data. A lot of false conclusions could be drawn from wrong data, e.g. false positives of false negatives. This is a big problem in cell detection because an average high resolution microscopes (less then 1 µm/px) are very expensive so some research is done on a lower resolution (more then 1 µm/px). In mice brains, cells have about a 15-20 µm diameter on average (Image 1)
When for example looking at a single plane with a resolution of 4.065 μm/px x 4.065 μm/px x 3 μm/px as shown in image 1, this resolution is clear enough to locate most cells but there are already some spots where an algorithm could easily make a mistake. This resolution would work most of the time when manually determining cell centres but when determining subcellular shapes like axons or even the shape of a single cell a higher resolution is needed. This high resolution is not always available to researchers so the need arises for a way to automatically detect cells with the lowest number of false positives and false negatives on data sets with lower resolutions. The most reliable way would be manually counting all cells in the dataset. But the cells in a single image stack set can be up to a million for just half a brain so this is impossible to do for each dataset. Counting a million cells by hand would take 11 and a half day if you were able to count a cell every second for 24 hours a day. So there is a need for a program which can reliably analyse datasets with reasonable speed. This has been a struggle in the past (Schmitz et al, 2014) and there is still not a single program to perform high quality cell detection in datasets. This research will mainly be looking at quality and not speed but it is something to take into account for further research.

Image 1: A subset of a single optical plane stained for c-Fos in the hippocampus region (4.065 μm/px x 4.065 μm/px x 3 μm/px). The scale bar is 80 μm (Renier et al., 2016)

The datasets used are mice brains that have been pre processed using the IDISCO protocol. This protocol first uses immunolabeling to make cells of interest auto fluorescent. The brains are then made transparent and resampled, aligned and analysed using ClearMap. ClearMap is a python pipeline developed to analyse mice brains made transparent and immunolabeled with IDISCO. To generate workable data the mice brains are visualised using light sheet microscopy generating image stacks.

This research aims to find the most reliable way to detect cells and will do so by testing ClearMap against Arivis. ClearMap has its own image processing and cell detection modules these modules will be tested against Arivis, a software made for working with data generated in the life sciences. Arivis also comes with it own image processing tools. Arivis has 2 ways to detect cell objects, the blob finder and the machine learning segmenter. Both of these will be combined with the image processing modules in Arivis.

IDISCO
The IDISCO protocol was developed as a response to other transparency and immunolabeling methods which all have their limitations such as needing to constantly be in a fluid which can make visualisation difficult or using highly denaturating substances (Supplemental Information of Renier et al., 2014, table S1). The IDISCO protocol was made to be “simple, fast, robust, scalable, and cheap” (Renier et al., 2014). IDISCO combines the 3DISCO protocol for making the brain transparent and immunolabeling steps. A limitation of the 3DISCO protocol is that the fluorescent proteins are quenched fast by the organic solvent used (Ertürk et al, 2014). So the brains need to be imaged preferably as soon as possible.

Clearmap
The ClearMap pipeline can be divided into 3 different main modules: a resampling method, image processing method and an alignment method.
These are accompanied by an input output module, a heatmap generation module and a table generation module.

The IO module can read multiple image formats. The supported formats are: TIF, RAW, NRRD and IMS. These can also all be used in a pattern, a folder of file list of 2d images, e.g. using a pattern format across all images. For ClearMap this pattern format looks like “Zxxxx.tif”. For example a random image could look like “image_mouse_brainZ0627.tif”. The first image should start at 001 and continue in steps of 1.

The alignment module resamples, reorientates and registers 3 dimensional images.
This is done in parallel to speed up the process.

The image processing module does a whole lot of background work and is the most resource expensive part of the pipeline. The cell detection module is actually made up out of a multitude of smaller modules. It contains a illumination correction, background removal, difference of Gaussians, extended maxima, intensity finder and cell shape detection modules. Because these are mostly independent from each other adding new modules and expanding the pipeline is flexible.

The X Y and C cells are stored in and read from a numpy array so using custom cell detection files is very easily implemented. The intensity of each cell is also stored in a numpy array of 4 columns where each column is the intensity after a filter step so only the 4th column is relevant for the final product.

ClearMap also provides the option the use of Ilastik instead of the internal image processing modules.

The analysis modules in ClearMap generate a heatmap and a table. These are both made with and without weights, with weights means the intensities are used in the calculation.

Arivis Vision4D

“Arivis Vision4D s a modular software for working with multi-channel 2D,3D and 4D images of almost unlimited size independent of available RAM” (arivis Vision4D, 2019)
Arivis comes with a converter to make image stacks available for the 4d viewer.
When your data is loaded into Arivis there is an option to make a custom analysis pipeline using multiple modules. These modules include image enhancement operations, object detection algorithms, filters and storage options (Analysis Pipeline, 2019)

ClearMap and Arivis will be tested against each to answer the question:

Which cell detection protocol gives the highest quality of results where quality is based on the least number of false positives and false negatives?

Material and method:

Image 2: Example of morphological operations in binary images. Figure 2a shows the origin image on which the operations are applied. Figure 2b to Figure 2e show the result of these operations. (Smith S., 1999)

ClearMap:

ClearMap’s internal image processing module is multi step module to not only detect cells but also clean the image. The steps are :
1. Correct illumination filter
2. Background removal filter filter
3. Difference of Gaussians (DoG) filter
4. Extended maxima finder
5. Intensity finder
6. Cell shape detector

Correct illumination filter

This filter is used when the illumination in the sample is not consistent across the sample. It corrects the variations that can occur in the reading of the sample.

Background removal:

The first step in most analysis pipelines is to correct for the background noise in an image. This noise is corrected in ClearMap by using background subtraction, more specifically the background subtraction is done by morphological opening (Image 2). Morphological opening is an morphological erosion followed by an morphological dilation. This means the image is first simplified by thinning the image which erases unnecessary pixels outside of where the object borders lie which are probably artefacts. While more important structures are preserved. They image is then thickened so the original dimensions are restored while the unnecessary pixels remain gone. The result is an image where the background is greatly reduced. A side effect is that the cell intensities are also reduced but overall the signal noise ratio is increased.

DoG filter

Image 3: This image is an example of Difference of Gaussians filter in 1 dimension. It shows the original image as the red line and the blurred version as the yellow line. The blue line represents the subtraction of the yellow line from the red line. Everything from the blue line below the 0 value is discarded which increases the contrast between cells and their background. (Spring et al, 2002)

To make objects stand out more in an image a difference of Gaussians filter can be used used. This means the origin image has a blurred version of itself subtracted from itself. By subtracting the images from each other information about the centres of geometry is preserved while edges are smoothed out (Spring et al, 2002). This filter increases the contrast between the cells and the background. This comes with the drawback of having a loss of intensity in objects but because the background noise is also decreased the noise signal ratio is increased. This filter is mainly used on more complicated objects then cells since cells have a simple shape to detect the centre of geometry for.

Extended maxima finder

This filter is used for objects that contain several peaks of intensity. For example a high resolution image of a neuron with a more granular texture. It will try to find a generate a single peak for the object. For images at a lower resolution this filter is not necessary because there simply aren’t enough pixels in each cell to generate different peaks.

Intensity finder

The peak intensity finder also functions as the cell detection module by looking for the centre of volume in all bright spots in the images. These are the X Y Z coordinates locally stored as cell coordinates but the centre of volume does not always correspond to the pixel with the highest intensity. This is probably because of deformations in the image caused by the lens. The filter looks at voxels nearby to see if there are brighter spots but the centre of volume will still be stored as the cell coordinate.

Cell shape detection

The cells shape detection is done via a watershed filter. This means the volume is generated from the centre of the detected cell and flows in every detection until it hits the threshold, which is based on the background intensity. The cell shape detection acts as a filter to get rid of local peaks that do not represent a cell.

Arivis operations
Operation	Function	Usefulness
Background correction	Image based background removes artificial shading. / Constant background removes varying intensity levels if the images were acquired over a longer time. It also increases the contrast between the cells and the background.	Image based background correction will probably help since there are some artefacts. / Constant background correction will not have any effect since there is not a lot of time difference.
Denoising filter (3 μm)	Removes noise artefacts	Could be useful since the image quality has a lot of background noise.
Edge detection filter	Looks for the edges of objects by searching for pixels where the brightness changes rapidly.	Not useful, we are not looking for structures big enough to have an edge
Enhancement filter	A collection of filters used to correct the background, convolute or de convolute the image and sharpen the image.	Could be useful since the image quality is not very high and trying to sharpen the image may increase the contrast. But the enhancement filter also increases the noise.
Local threshold filter	This filter is used to detect structures when the background varies within the image and over time	Will not have an effect since the background in each image is roughly the same.
MATLAB filter	Allows the user to run a voxel operation implemented in matlab	Not useful. All necessary operations can be achieved in Arivis
Membrane enhancement	Used to enhance membranes	Not useful. The data is not sharp enough to see membranes.
Morphology filter	Are filters with the goals of removing imperfections in images by accounting for the form and structure of images. Useful in binary or greyscale images.	Might be useful but cell detection will never need to look for complicated structures.
Object mask	Allows you to make a subset in your data that is pixel-perfect.	Not useful. We want to detect everything inside the brain and there is nothing outside of it.
Objectness measure filter	Is useful to detect 2D objects in 3D data	Not useful, cells are always in 3D
Particle enhance membranes	This filter enhances rounded particles in a noisy image	Could be useful but cells might be too few pixels.

Machine learning segmenter
The machine learning segmenter is a build in way to perform object detection using machine learning by letting the user select 1 or more classes of objects and the background. This is done by a brush in the 2d images, there is no option to select objects in three dimensions but the machine learning segmenter will look of the class objects extend in the z axis. This can lead to problems because the z planes have a certain thickness which is filled in by Arivis. with
The more objects in each class are given by the user the better the machine learning segmeter is able to identify objects.

Blob finder:
The blob finder looks for rounded objects and and is optimized for finding cells in noisy images.
The setting used for the blob finder in these tests was to look for objects with a minimum size of 5 μm.

When calculating the matches the variation of 4 pixels was chosen because it equal to 12.1 μm which is a little over the average radius of the cells in the data these tests are ran on. This means that the chance that 2 cells are within less then pixels of each other is very small. Only if 2 cells are very close and both very small could their centres be this close.

Results

Each table has a count of manually counted cells and the count of the Arivis counts.

The matches are calculated by comparing the X Y Z coordinates of each manually counted cell to each of the Arivis found coordinates.
For example:

Manually counted = [x = 1,4,6],[7,4,1]]
Arivis found = [[2,4,6],[9,2,6],[1,1,1]]

The [1,4,6] coordinates are compared to each of the Arivis counts with a variation of 3 pixels.
So the Arivis counts have to be between [-2,1,3] and [4,7,9]
In this example only the Arivis cell found at [2,4,6] is in this range.

If more then 1 cell falls between this range that most likely means Arivis made a mistake but they are still counted as matches. This will cause some errors the matches but also means the amount of cells Arivis found goes up by 1 so the results will still show this error but in a different place.

The results are visualised in a scatter plot divided into 4 squares.
The X coordinate for each point is representative for the number of counts in Arivis
The Y coordinate for each point is representative for the amount of correct matches with the manually counted dataset.
If a point is located in the top right square it means there are too many matches and too many cells. This could occur if Arivis counts 1 cell as 2 different cells.
The points in the bottom right square are results with too many cells but not enough matches.
The last place points can be located is the bottom left square. The results here don’t have enough matches but also didn’t find enough cells.
It is impossible for points to be in the top left square, in this area the results with not enough counted cells but with too many matches will show. But Arivis needs to find more than or as many cells as the hand counted data to get too many matches so this square will always be empty.

The first tests in Arivis only used a single filter with a blob finder or machine learning segmenter or only the cell detection without a filter directly on the data. The results for the 4 datasets used are shown in tables 1-4 and plotted in figures add figures The outlier in every dataset was the enhancement filter. If the first step in a pipelines was an enhancement filter, the black outside of the datasets was converted to noise which triggered the blob finder. So a thousands of cells were found in the space outside of the dataset.

When only using a single filter there was no a clear best one to use. Twice the background correction gave the best results and twice it was the morphology filter,
The worst filter was on every dataset was the enhancement filter combined with the blob finder. it found thousands of cells all over the dataset. Even outside the dataset a lot of cells were detected while there was no data to start with.
Apart from the enhancement filter in most cases using a random filter with the blob finder improved the quality of the detected cells.

Sources:

Renier, N., Wu, Z., Simon, D. J., Yang, J., Ariel, P., & Tessier-Lavigne, M. (2014). iDISCO: a simple, rapid method to immunolabel large tissue samples for volume imaging. Cell, 4, 896–910.

Renier, N., Adams, E. L., Kirst, C., Wu, Z., Azevedo, R., Kohl, J., Autry, A. E., Kadiri, L., Umadevi Venkataraju, K., Zhou, Y., Wang, V. X., Tang, C. Y., Olsen, O., Dulac, C., Osten, P., & Tessier-Lavigne, M. (2016). Mapping of Brain Activity by Automated Volume Analysis of Immediate Early Genes. Cell, 7, 1789–1802.

arivis Vision4D. (2019, 11 juni). Retrieved 31 October 2019, from https://www.arivis.com/en/imaging-science/arivis-vision4d

Analysis Pipeline. (2019, 23 juni). Retrieved 31 October 2019, from https://www.arivis.com/en/imaging-science/analysis-pipeline

Ertürk, A., Lafkas, D., Chalouni, C. Imaging Cleared Intact Biological Systems at a Cellular Level by 3DISCO. J. Vis. Exp. (89), e51382, doi:10.3791/51382 (2014).

Smith, S. W. (1999) The Scientist and Engineer's Guide to Digital Signal Processing. San Diego, United States of America: California Technical Publishing

Spring, K. R., Russ, J. C., Parry-Hill, M. J., Fellers, H. J., & Davidson, M. W. (2002, 19 February). Molecular Expressions Microscopy Primer: Digital Image Processing - Difference of Gaussians Edge Enhancement Algorithm - Interactive Tutorial. Retrieved 12 november 2019, from https://micro.magnet.fsu.edu/primer/java/digitalimaging/processing/diffgaussians/index.html

Schmitz, C., Eastwood, B.S., Tappan, S.J., Glaser, J.R., Peterson, D.A., & Hof, P.R. (2014). Current automated 3D cell detection methods are not a suitable replacement for manual stereologic cell counting. Frontiers in neuroanatomy, 8, 27.