Cell detection, the differences between ClearMap and Arivis.

Bram Bosch
Donders institute for Brain, Cognition and Behaviour
Supervisors: Dirk Schubert and Moritz Negwer
2019
Abstract:

Cell detection is an important part of brain analysis research and often difficult to perform because of the big amount of cells in a brain which could be of importance. Cell counts could be up to more than million individual cells in just half a brain so counting by hand would take 11 and a half day if you counted 1 cell each second for 24 hours a day. When working with lower quality microscopes (more then 1 µm/px) or if the signal to noise ratio is very high simple detection programs will give a very high false positive ratio. The data used in this research is processed by the IDISCO protocol and read by an ultra light sheet microscope. IDISCO makes brain cells of interest auto fluorescent and makes the brain transparent. In this research the ClearMap pipeline is tested against Arivis. ClearMap is a python pipeline developed by the group who made the IDISCO protocol so should be optimized for the data. Arivis is a program developed specifically for 3 or 4 dimensional biological data and has the option to build custom pipelines with multiple image processing methods and cell detection methods. The programs will be tested against 4 datasets with manually counted cells. The optimal output is if the programs detect exactly as many cells as are present in the hand counted data and if all the locations can be accounted for. The comparison looks for the locations of the found cells within de radius of an average cell of all the manually counted cells.
Introduction:

The quality of brain research in mice is for a large part dependent on the quality of the data. A lot of false conclusions could be drawn from wrong data, e.g. false positives of false negatives. This is a big problem in cell detection because an average high resolution microscopes (less then 1 µm/px) are very expensive so some research is done on a lower resolution (more then 1 µm/px). In mice brains, cells have about a 15-20 µm diameter on average (Image 1)
When for example looking at a single plane with a resolution of 4.065 μm/px x 4.065 μm/px x 3 μm/px, this resolution is clear enough to locate most cells but there are already some spots where an algorithm could easily make a mistake. This resolution would work most of the time when determining cell centres but when determining subcellular things like axons or even the shape of a single cell a higher resolution is needed. This high resolution is not always available to researchers so the need arises for a way to detect cells with the lowest number of false positives and false negatives on data sets with lower resolutions. The most reliable way would be manually counting all cells in the dataset. But the cells in a single image stack set can be up to a million for just half a brain so this is impossible to do for each dataset. Counting a million cells by hand would take 11 and a half day if you were able to count a cell every second for 24 hours a day. So there is a need for a program which can reliably analyse datasets with reasonable speed. This research will mainly be looking at quality and not speed but it is something to take into account.

Image 1: A subset of a single optical plane stained for c-Fos in the hippocampus region (4.065 μm/px x 4.065 μm/px x 3 μm/px). The scale bar is 80 μm (Renier et al., 2016)

To generate datasets, mice brains are pre processed using pre-lox recombination. This is a way to make certain genes overproduce protein products. On the produced proteins a fluorescent anti-body is attached which makes cell glow. They are then made transparent using the 3DISCO protocol and resampled, aligned and analysed using ClearMap. ClearMap is a python pipeline developed to analyse mice brains made transparent and immunolabeled with IDISCO. To generate workable data the mice brains are visualised using light sheet microscopy generating image stacks.

ClearMap has its own image processing and cell detection modules but also has the option to use data generated by other programs. This research aims to find the most reliable way to detect cells so ClearMap’s build in modules will be tested against Arivis, a software made for working with data generated in the life sciences. Arivis also comes with it own image processing tools.

The cell detection protocols tested are the ClearMap image processing module, the Arivis machine learning module and the Arivis blob detection module. The modules from Arivis will be combined with the image processing tools available.

IDISCO
The IDISCO protocol was developed as a response to other transparency and immunolabeling methods which all have their limitations such as needing to constantly be in a fluid which can make visualisation difficult or using highly denaturating substances (Supplemental Information of Renier et al., 2014, table S1). The IDISCO protocol was made to be “simple, fast, robust, scalable, and cheap” (Renier et al., 2014). IDISCO combines the 3DISCO protocol for making the brain transparent and immunolabeling steps. A limitation of the 3DISCO protocol is that the fluorescent proteins are quenched fast by the organic solvent used (Ertürk et al, 2014). So the brains need to be imaged preferably as soon as possible.

Clearmap
The ClearMap pipeline can be divided into 3 different main modules: a resampling method, image processing method and an alignment method.
These are accompanied by an input output module, a heatmap generation module and a table generation module.

The IO module can read multiple image formats. The supported formats are: TIF, RAW, NRRD and IMS. These can also all be used in a pattern, a folder of file list of 2d images, by using a pattern format across all images. For clearmap this pattern format looks like “Zxxxx.tif”. For example a random image could look like “image_mouse_brainZ0627.tif”. The first image should start at 001 and continue in steps of 1.

The alignment module resamples, reorientates and registers 3 dimensional images.
This is done in parallel to speed up the process.

The image processing module does a whole lot of background work and is the most resource expensive part of the pipeline. The cell detection module is actually made up out of a multitude of smaller modules. It contains a illumination correction, background removal, difference of Gaussians, extended maxima, intensity finder and cell shape detection modules. Because these are mostly independent from each other adding new modules and expanding the pipeline is flexible.

The X Y and C cells are stored in a numpy array so using custom cell detection files is very easily implemented. The intensity of each cell is also stored in a numpy array of 4 columns where each column is the intensity after a filter step so only the 4th column is relevant.

ClearMap also provides the option the use of Ilastik instead of the internal image processing modules.

The analysis modules in ClearMap generate a heatmap and a table. These are both made with and without weights, with weights means the intensities are used in the calculation.

Arivis Vision4D

“Arivis Vision4D s a modular software for working with multi-channel 2D,3D and 4D images of almost unlimited size independent of available RAM” (arivis Vision4D, 2019)
Arivis comes with a converter to make image stacks available for the 4d viewer.
When your data is loaded into Arivis there is an option to make a custom analysis pipeline using multiple modules. These modules include image enhancement operations, object detection algorithms, filters and storage options (Analysis Pipeline, 2019)

To determine if ClearMap or Arivis has better cell detection protocols they will be tested against each other using 4 datasets where all the cells have been manually counted. The research question to answer this question is:

Which cell detection protocol gives the highest quality of results where quality is based on the least number of false positives and false negatives.
Material and method:

Image 2: Example of morphological operations in binary images. Figure 2a shows the origin image on which the operations are applied. Figure 2b to Figure 2e show the result of these operations. (Smith S., 1999)

ClearMap:

ClearMap’s internal image processing module is multi step module to not only detect cells but also clean the image. The steps are :
1. Correct illumination filter
2. Background removal filter filter
3. Difference of Gaussians (DoG) filter
4. Extended maxima finder
5. Intensity finder
6. Cell shape detector

Correct illumination filter

This filter is used when the illumination in the sample is not consistent across the sample. It corrects the variations that can occur in the reading of the sample.

Background removal:

The first step in most analysis pipelines is to correct for the background noise in an image. This noise is corrected by using background subtraction. The background subtraction in ClearMap is done by morphological opening (Image 2). Morphological opening is an morphological erosion followed by an morphological dilation. This means the image is first simplified by thinning the image which erases unnecessary pixels outside of where the object borders lie. They image is then thickened so the original distances are restored while the unnecessary pixels are gone/
The result is an image where the background is greatly reduced. Unfortunately the cell intensities are also reduced but overall the signal noise ratio is increased.

DoG filter

Image 3: This image is an example of Difference of Gaussians filter in 1 dimension. It shows the original image as the red line and the blurred version as the yellow line. The blue line represents the subtraction of the yellow line from the red line. Everything from the blue line below the 0 value is discarded which increases the contrast between cells and their background. (Spring et al, 2002)

To better detect objects a Gaussians filter can be used used. This means the origin image has a blurred version of itself subtracted from itself. By subtracting the images from each other information about the centres of geometry is preserved while edges are smoothed out (Spring, Russ, Parry-Hill, Fellers, & Davidson, 2002). This filter increases the contrast between the cells and the background. Same as in the background correction the intensity of the signal is reduced but the signal noise ratio increased. This filter is mainly used on more complicated objects then cells since cells have a simple shape to detect the centre of geometry for.

Extended maxima finder

This filter is used for objects that contain several peaks of intensity. For example a high resolution image of a neuron with a more granular texture. It will try to find a generate a single peak for the object. For images at a lower resolution this filter is not necessary because there simply aren’t enough pixels in each cell to generate different peaks.

Intensity finder

The peak intensity finder also functions as the cell detection module by looking for the centre of volume in all bright spots in the images. These are the X Y Z coordinates locally stored as cell coordinates but the centre of volume does not always correspond to the pixel with the highest intensity. This is probably because of deformations in the image caused by the lens. The filter looks at voxels nearby to see if there are brighter spots but the centre of volume will still be stored as the cell coordinate.

Cell shape detection

The cells shape detection is done via a watershed filter. This means the volume is generated from the centre of the detected cell and flows in every detection until it hits the threshold, which is based on the background intensity. The cell shape detection acts as a filter to get rid of local peaks that do not represent a cell.

Arivis operations
Operation	Function	Usefulness
Background correction	Image based background removes artificial shading. / Constant background removes varying intensity levels if the images were acquired over a longer time. It also increases the contrast between the cells and the background.	Image based background correction will probably help since there are some artifacts. / Constant background correction will not have any effect since there is not a lot of time difference.
Denoising filter (3 μm)	Removes noise artefacts	Could be usefull since the image quality has a lot of background noise.
Edge detection filter	Looks for the edges of objects by searching for pixels where the brightness changes rapidly.	Not useful, we are not looking for structures big enough to have an edge
Enhancement filter	A collection of filters used to correct the background, convolute or de convolute the image and sharpen the image.	Could be useful since the image quality is not very high and trying to sharpen the image may increase the contrast. But the enhancement filter also increases the noise.
Local threshold filter	This filter is used to detect structures when the background varies within the image and over time	Will not have an effect since the background in each image is roughly the same.
MATLAB filter	Allows the user to run a voxel operation implemented in matlab	Not useful. All necessary operations can be achieved in Arivis
Membrane enhancement	Used to enhance membranes	Not useful. The data is not sharp enough to see membranes.
Morphology filter	Are filters with the goals of removing imperfections in images by accounting for the form and structure of images. Useful in binary or greyscale images.	Might be useful but cell detection will never need to look for complicated structures.
Object mask	Allows you to make a subset in your data that is pixel-perfect.	Not useful. We want to detect everything inside the brain and there is nothing outside of it.
Objectness measure filter	Is useful to detect 2D objects in 3D data	Not useful, cells are always in 3D
Particle enhance membranes	This filter enhances rounded particles in a noisy image	Could be useful but cells might be too few pixels.

Machine learning segmenter
Lets the user select what he wants Arivis to find as cells and what the background looks like.
Also gives filters for sensitivity

Blob finder:
The blob finder looks for rounded objects and and is optimized for finding cells in noisy images.
The setting used for the blob finder in these tests was to look for objects with a minimum size of 5 μm.

When calculating the matches the variation of 3 pixels was chosen because it equal to 9.075 μm which is the average radius ff the cells in the data these tests are ran on. This means that the chance that 2 cells are within less then 3 pixels of each other is very small. Only if 2 cells are very close and both very small could they be this close.

Results

Each table has a count of manually counted cells and the count of the Arivis counts.

The matches are calculated by comparing the X Y Z coordinates of each manually counted cell to each of the Arivis found coordinates.
For example:

Manually counted = [x = 1,4,6],[7,4,1]]
Arivis found = [[2,4,6],[9,2,6],[1,1,1]]

The [1,4,6] coordinates are compared to each of the Arivis counts with a variation of 3 pixels.
So the Arivis counts have to be between [-2,1,3] and [4,7,9]
In this example only the Arivis cell found at [2,4,6] is in this range.

If more then 1 cell falls between this range that most likely means Arivis made a mistake but they are still counted as a match. This will cause some errors the matches but also means the amount of cells Arivis found goes up by 1 so the results will still show this error but in a different place.

The results are visualised in a scatter plot divided into 4 squares.
The X coordinate for each point is representative for the number of counts in Arivis
The Y coordinate for each point is representative for the amount of correct matches with the manually counted dataset.
If a point is located in the top right square it means there are too many matches and too many cells. This could occur if Arivis counts 1 cell as 2 different cells.
The points in the bottom right square are results with too many cells but not enough matches.
The last place points can be located is the bottom left square. The results here don’t have enough matches but also didn’t find enough cells.
It is impossible for points to be in the top left square, in this area the results with not enough counted cells but with too many matches will show. But Arivis needs to find more than or as many cells as the hand counted data to get too many matches so this square will always be empty.
Table 1: This table shows the results of the Arivis pipelines on dataset 66632. The manually counted cells are 224 cells. To confirm a match a variation of 3 pixels or 9.075 μm was used.
Cell Finder	Image processing applied	Cells counted in Arivis	Matches	Cells not corresponding to manually found cells.	Cells too many
Blob finder	None	633	223	1	409
Machine learning segmenter (25 cells, 15 background)	None	134	99	125	-90
Blob finder	Background correction	330	210	14	106
Machine learning segmenter (25 cells, 15 background)	Background correction	157	126	98	-67
Blob finder	Denoising filter (3 μm)	357	180	44	133
Machine learning segmenter (25 cells, 15 background)	Denoising filter (3 μm)	132	107	117	-92
Blob finder	Enhancement filter (Simple sharpening filter)	5032	488	-264	4808
Machine learning segmenter (25 cells, 15 background)	Enhancement filter (Simple sharpening filter)	206	84	140	-18
Blob finder	Morphology filter (preserve bright objects filter)	592	249	-25	368
Machine learning segmenter (25 cells, 15 background)	Morphology filter (preserve bright objects filter)	150	124	100	-74
Blob finder	Particle enhancement filter (5 μm)	1035	237	-13	811
Machine learning segmenter (25 cells, 15 background)	Particle enhancement filter (5 μm)	151	121	103	-73

Table 2: This table shows the results of the Arivis pipelines on dataset 66633. The manually counted cells are 139 cells. To confirm a match a variation of 3 pixels or 9.075 μm was used.
Cell Finder	Image processing applied	Cells counted in Arivis	Matches	Cells not corresponding to manually found cells.	Arivis counts without match
Blob finder	None	184	125	14	45
Blob finder	Background correction	165	116	23	26
Blob finder	Denoising filter (3 μm)	132	102	37	-7
Blob finder	Enhancement filter (simple sharpening filter)	422	145	-6	283
Blob finder	Morphology filter (preserve bright objects filter)	142	115	24	3
Blob finder	Particle enhancement filter (5 μm)	159	115	24	20

Table 3: This table shows the results of the Arivis pipelines on dataset 66634. The manually counted cells are 165 cells. To confirm a match a variation of 3 pixels or 9.075 μm was used.
Cell Finder	Image processing applied	Cells counted in Arivis	Matches	Cells not corresponding to manually found cells.	Cells too many
Blob finder	None	210	146	19	45
Blob finder	Background correction	165	142	23	0
Blob finder	Denoising filter (3 μm)	226	142	23	61
Blob finder	Enhancement filter (simple sharpening filter)	1693	245	-80	1528
Blob finder	Morphology filter (preserve bright objects filter)	231	157	8	66
Blob finder	Particle enhancement filter (5 μm)	233	155	10	68

Table 4: This table shows the results of the Arivis pipelines on dataset 190925. The manually counted cells are 129 cells. To confirm a match a variation of 3 pixels or 9.075 μm was used.
Cell Finder	Image processing applied	Cells counted in Arivis	Matches	Cells not corresponding to manually found cells.	Cells too many
Blob finder	None	405	113	16	276
Blob finder	Background correction	199	109	20	70
Blob finder	Denoising filter (3 μm)	252	98	31	123
Blob finder	Enhancement filter (simple sharpening filter)	2149	199	-70	2010
Blob finder	Morphology filter (preserve bright objects filter)	198	109	20	69
Blob finder	Particle enhancement filter (5 μm)	241	104	25	112

Grapg

Figure 1: A scatter plot showing the accuracy of using only 1 filter with a blob finder.

Figure 3: See figure 1

Figure 4: See figure 1

Figure 2: See figure 1
The first tests in Arivis only used a single filter with a blob finder or only the blob finder directly on the data. The results for the 4 datasets used are shown in figures add figures The outlier in every dataset was the enhancement filter. If only the enhancement filter combined with the blob finder was used the blob finder found thousands of cell all over the dataset. Even outside the dataset a lot of cells were detected while there was no data to start with.
Sources:

Renier, N., Wu, Z., Simon, D. J., Yang, J., Ariel, P., & Tessier-Lavigne, M. (2014). iDISCO: a simple, rapid method to immunolabel large tissue samples for volume imaging. Cell, 4, 896–910.

Renier, N., Adams, E. L., Kirst, C., Wu, Z., Azevedo, R., Kohl, J., Autry, A. E., Kadiri, L., Umadevi Venkataraju, K., Zhou, Y., Wang, V. X., Tang, C. Y., Olsen, O., Dulac, C., Osten, P., & Tessier-Lavigne, M. (2016). Mapping of Brain Activity by Automated Volume Analysis of Immediate Early Genes. Cell, 7, 1789–1802.

arivis Vision4D. (2019, 11 juni). Retrieved 31 October 2019, from https://www.arivis.com/en/imaging-science/arivis-vision4d

Analysis Pipeline. (2019, 23 juni). Retrieved 31 October 2019, from https://www.arivis.com/en/imaging-science/analysis-pipeline

Ertürk, A., Lafkas, D., Chalouni, C. Imaging Cleared Intact Biological Systems at a Cellular Level by 3DISCO. J. Vis. Exp. (89), e51382, doi:10.3791/51382 (2014).

Smith, S. W. (1999) The Scientist and Engineer's Guide to Digital Signal Processing. San Diego, United States of America: California Technical Publishing

Spring, K. R., Russ, J. C., Parry-Hill, M. J., Fellers, H. J., & Davidson, M. W. (2002, 19 February). Molecular Expressions Microscopy Primer: Digital Image Processing - Difference of Gaussians Edge Enhancement Algorithm - Interactive Tutorial. Retrieved 12 november 2019, from https://micro.magnet.fsu.edu/primer/java/digitalimaging/processing/diffgaussians/index.html